## Slide 1: In Silico Comparison of Photons versus Carbon Ions in Single Fraction Therapy of Lung Cancer
Kristjan Anderle

## Slide 2: Outline
Introduction
Materials & Methods
Results
Conclusion & Outlook

## Slide 3: Introduction

## Slide 4: Stereotactic Body Radiation Treatment (SBRT)

## Slide 5: Introduction
photons

## Slide 6: Introduction
p+
12C
photons
photons

## Slide 7: Introduction
p+
12C
photons
photons
12C
LEGENDA!

## Slide 8: Introduction
PT Raster scanning
PT Bragg peak
PT range changes & interplay

## Slide 9: Introduction
PT Raster scanning
PT Bragg peak
PT range changes & interplay
Courtesy M. Söhn, LMU

## Slide 10: Deformable Image Registration

## Slide 11: Deformable Image Registration Quality Assurance
Quality assurance with qualitative and quantitative test
Extensive verification, with over 1000 deformable image registrations
Jacobian map of vector field

## Slide 12: Outline
Introduction
Materials & Methods
Results
Conclusion & Outlook

## Slide 13: Patient Data
19 patients, 26 tumors
Average tumor volume: 2.9 cm3
Average tumor motion: 3.1 mm

## Slide 14: Patient Data – Normal Cases
19 patients, 26 tumors (each tumor 1 x 24 Gy)
Average tumor volume: 2.9 cm3
Average tumor motion: 3.1 mm
Single field uniform optimization

## Slide 15: Patient Data – Normal Cases
SBRT single treatment plan
PT 10 dose calculations per patient:
  Without motion, static (2x)
  With motion, without compensation, 4D-interplay (4x)
  With motion, with compensation, 4D-rescanning (4x)

## Slide 16: Intensity modulated particle therapy optimization for multiple targets

## Slide 17: Intensity modulated particle therapy optimization for multiple targets

## Slide 18: Intensity modulated particle therapy optimization for multiple targets

## Slide 19: Intensity modulated particle therapy optimization for multiple targets

## Slide 20: Patient Data - Complex Cases
8 patients, 24 tumors
Average tumor volume: 4.1 cm3
Average tumor motion: 5.9 mm
Two optimizations:
  ITV
  4D optimization

## Slide 21: Patient Data - Complex Cases
SBRT single treatment plan
PT 8 dose calculation per patient:
  2 optimizations, each 4 breathing patterns
Dose escalation for 3 patients to 1 x 24Gy

## Slide 22: Outline
Introduction
Materials & Methods
Results
Conclusion & Outlook

## Slide 23: Normal Cases - Example

## Slide 24: Normal Cases - Example

## Slide 25: Normal cases – Tumor Irradiation

## Slide 26: Normal Cases- OAR Irradiation

## Slide 27: Normal cases – OAR Irradiation

## Slide 28: Complex Cases (show just PT and SBRT)

## Slide 29: Complex Cases - Tumor Irradiation

## Slide 30: Complex Cases - OAR Irradiation

## Slide 31: Complex Cases – dose escalation

## Slide 32: Clinical Trial RTOG 0617

## Slide 33: Conclusions
PT delivers the same dose to tumors as SBRT
PT delivers significantely less dose to normal tissue
PT could deliver full ablative dose in single fraction, where SBRT could not
PT should be considered as a treamtent modality for lung cancer patients

## Slide 34: Outlook
Phase III Randomized Trial Comparing Overall Survival After Photon Versus Proton Chemoradiotherapy for Inoperable Stage II-IIIB NSCLC (RTOG 1308), started in 2014, passive scattering proton therapy
First lung cancer patients treated with active scanning carbon-ions at NIRS, Chiba (Japan)
Löwe?

## Slide 35: Acknowledgments
GSI
C. Graeff
M. Durante
A. Eichorn
M. Prall
S. Hild
FC
J. Stroom
C. Greco
N. Pimentel
S. Vierra
UK Erlangen
C. Bert
T. Brandt
J. Wölfelschneider