## Slide 1: In Silico Comparison of Photons versus Carbon Ions in Single Fraction Therapy of Lung Cancer
Kristjan Anderle

## Slide 2: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 3: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 4: Introduction

## Slide 5: Stereotactic Body Radiation Treatment (SBRT)

## Slide 6: 3D Treatment Plan Example
SBRT

## Slide 7: 3D Treatment Plan Example
p+
12C
photons
SBRT

## Slide 8: 3D Treatment Plan Example
p+
12C
photons
SBRT

## Slide 9: 3D Treatment Plan Example
p+
12C
photons
SBRT
12C

## Slide 10: Motion effects
Courtesy M. Söhn, LMU
Courtesy C. Graeff, GSI

## Slide 11: Deformable Image Registration & Quality Assurance
Before registration:
After registration:

## Slide 12: Deformable Image Registration & Quality Assurance
Before registration:
After registration:

## Slide 13: In Silico Comparison
23 lung cancer patients were actually treated with SBRT
Treatment plans were generated for active scanning carbon-ions (PT)
Comparision:
    Dose to the tumor
    Dose to critical organs
    Dose escalation

## Slide 14: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 15: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 16: Patient Data
19 patients, 26 tumors (each tumor 1 x 24 Gy)
Average tumor volume: 2.9 cm3
Average tumor motion: 3.1 mm
Single field uniform optimization
LEM IV biological model

## Slide 17: Dose calculations
SBRT single treatment plan
PT 10 dose calculations per patient:
  Without motion, static (2x)
  With motion, without compensation, 4D-interplay (4x)
  With motion, with compensation, 4D-rescanning (4x)

## Slide 18: Results - Examples
SBRT
PT

## Slide 19: Results - Examples
SBRT
PT

## Slide 20: Results – Dose to Tumors

## Slide 21: Results - Dose to Critical Organs

## Slide 22: Results - Dose to Critical Organs
Notes: CiT v PT

## Slide 23: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 24: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 25: Intensity Modulated Particle Therapy Optimization for Multiple Targets

## Slide 26: Intensity Modulated Particle Therapy Optimization for Multiple Targets

## Slide 27: Intensity Modulated Particle Therapy Optimization for Multiple Targets

## Slide 28: Intensity Modulated Particle Therapy Optimization for Multiple Targets

## Slide 29: Intensity Modulated Particle Therapy Optimization for Multiple Targets

## Slide 30: Patient Data
8 patients, 24 tumors
  3 tumors in 2 patients received 3 x 9 Gy
  1 tumor received 5 x 7 Gy
  All others 1 x 24 Gy
Average tumor volume: 4.1 cm3
Average tumor motion: 5.9 mm
Several critical organs in close vicinity to the tumor
Intensity modulated particle therapy optimization

## Slide 31: Dose calculation
SBRT single treatment plan
PT 8 dose calculation per patient:
  2 optimizations, each 4 breathing patterns
Dose escalation for 3 patients to 1 x 24Gy

## Slide 32: Results – Dose to the Tumors

## Slide 33: Results - Example
SBRT
PT

## Slide 34: Results – Dose to the Tumors

## Slide 35: Results - Example
SBRT
PT
Heart
Stomach
Esophagus
Target
Heart
Stomach
Esophagus
Target

## Slide 36: Results – Dose to Critical Organs

## Slide 37: Results – Dose Escalation

## Slide 38: Clinical Trial RTOG 0617

## Slide 39: Clinical Trial RTOG 0617

## Slide 40: Clinical Trial RTOG 0617

## Slide 41: Clinical Trial RTOG 0617

## Slide 42: Clinical Trial RTOG 0617

## Slide 43: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 44: Outline
Introduction
Lung Cancer Patients – General Group
Lung Cancer Patients with Multiple Tumors
Conclusion & Outlook

## Slide 45: Conclusions
PT delivers the same dose to tumors as SBRT,
while depositing significantly less dose to normal tissue.
PT could deliver full ablative dose in single fraction, where SBRT could not
PT should be considered as a treamtent modality for lung cancer patients

## Slide 46: Outlook
Phase III Randomized Trial Comparing Overall Survival After Photon Versus Proton Chemoradiotherapy for Inoperable Stage II-IIIB NSCLC (RTOG 1308), started in 2014, passive scattering proton therapy
First lung cancer patients treated with active scanning carbon-ions at NIRS, Chiba (Japan)
Löwe?

## Slide 47: Acknowledgments
GSI
C. Graeff
M. Durante
A. Eichorn
M. Prall
S. Hild
FC
J. Stroom
C. Greco
N. Pimentel
S. Vierra
UK Erlangen
C. Bert
T. Brandt
J. Wölfelschneider

## Slide 48: Thank you for your attention.