## Slide 1: In Silico Comparison of Photons versus Carbon Ions in Single Fraction Therapy of Lung Cancer
Kristjan Anderle

## Slide 2: Outline
Introduction
Lung Cancer Patients – Cohort 1
Lung Cancer Patients – Cohort 2
Conclusion & Outlook

## Slide 3: Introduction

## Slide 4: Stereotactic Body Radiation Treatment (SBRT)
High precision treatment with photons
Delivers high dose (up to 30 Gy) in few fractions (1-3)
Good results for lung cancer in early stages
Limited for:
    Multiple tumors
    Large tumors

## Slide 5: 3D Treatment Plan Example
Notes: Why do you show this?

## Slide 6: 3D Treatment Plan Example
SBRT
12C

## Slide 7: Particle Therapy
Advantageous dose profile for radiotherapy
Bragg peak depends on particle energy
No or small dose tail after the Bragg peak
Currently, mostly static targets are treated (head & neck, prostate)
Source:NIRS,2016
Notes: Povad ta slide.

## Slide 8: Motion Effects in Particle Therapy
Courtesy M. Söhn, LMU
Courtesy C. Graeff, GSI

## Slide 9: In Silico Study
Comparison of lung cancer treatment simulations between SBRT and active scanning carbon-ions (PT)
23 lung cancer patients were actually treated with SBRT
Comparison:
    Dose to the tumor
    Dose to critical organs
    Dose escalation

## Slide 10: Outline
Introduction
Lung Cancer Patients – Cohort 1
Lung Cancer Patients – Cohort 2
Conclusion & Outlook

## Slide 11: Patient Data
19 patients
26 tumors
Each tumor 1 x 24 Gy
Average tumor volume: 2.9 (range, 0.4 – 139) cm3
Average tumor motion amplitude: 3.1 (range, 0.1 – 12) mm

## Slide 12: PT Treatment planning
Single field uniform optimization
10 dose calculations per patient:
    Without motion, static (2x)
    With motion, without compensation, 4D-interplay (4x)
    With motion, with compensation, 4D-rescanning (4x)

## Slide 13: Treatment Plan Examples
SBRT
PT
Notes: Uvod v to.

## Slide 14: Treatment Plan Examples
SBRT
PT

## Slide 15: Results – Dose to Tumors
No difference in tumor dose between SBRT and static PT (3D)

## Slide 16: Results – Dose to Tumors
No difference in tumor dose between SBRT and static PT (3D)
Without motion compensation the tumor dose is too low (4D interplay)

## Slide 17: Results – Dose to Tumors
No difference in tumor dose between SBRT and static PT (3D)
Without motion compensation the tumor dose is too low (4D interplay)
Rescanning mitigates tumor motion sufficiently (4D rescan)

## Slide 18: Results - Dose to Critical Organs
Notes: CiT v PT

## Slide 19: Dose to the Heart
Higher heart (V5) dose was directly correlated to higher mortality (Bradley, JD et al, Lancet Oncology, 2015)
SBRT
PT
55%
7.6%
Volume reciving 5% (1.2 Gy) dose
Notes: Ne pozabit na ta slajd.

## Slide 20: Outline
Introduction
Lung Cancer Patients – Cohort 1
Lung Cancer Patients – Cohort 2
Conclusion & Outlook

## Slide 21: Patient Data
8 patients
24 tumors
    3 tumors in 2 patients received 3 x 9 Gy
    1 tumor received 5 x 7 Gy
    All others 1 x 24 Gy
Average tumor volume: 4.1 (range, 0.4 – 139) cm3
Average tumor motion amplitude: 5.9 (range, 0.5 – 17) mm
Several critical organs in close vicinity to the tumor

## Slide 22: Intensity Modulated Particle Therapy Optimization for Multiple Targets
Target 1
Target 2
Target 1 & 2
SFUD
IMPT (new)

## Slide 23: PT Treatment planning
Intensity modulated particle therapy optimization
8 dose calculations per patient:
      2 optimizations
      All with motion and rescanning
      4 breathing patterns
Dose escalation for 3 patients to 1 x 24Gy

## Slide 24: Treatment Plan Examples
SBRT
PT
All 5 targets recived planned dose with SBRT and PT (CTV D99% > 100 %)
Notes: Uvod?

## Slide 25: Treatment Plan Examples
SBRT
PT
Heart
Stomach
Esophagus
Target
Heart
Stomach
Esophagus
Target
Planning dose not met wiht PT
(SBRT D99% = 100%, PT D99% = 75%, )

## Slide 26: Results – Dose to Critical Organs
Cohort I
Cohort II
Cohort I
Cohort II

## Slide 27: Average Heart V5
SBRT
PT
81 %
8.7%
Notes: Ne pozabt

## Slide 28: Results – Dose Escalation
1 tumor: 1 x 22 Gy
2 tumors: 1 x 21 Gy
2 tumors: 3 x 9 Gy
5 tumors: 1 x 24 Gy

## Slide 29: Heart Dose Volume Histogram

## Slide 30: Outline
Introduction
Lung Cancer Patients – Cohort 1
Lung Cancer Patients – Cohort 2
Conclusion & Outlook

## Slide 31: Conclusions
PT delivers the same dose to tumors as SBRT,
while depositing significantly less dose to normal tissue
Patients with large or multiple tumors would especially benefit from PT
PT could deliver full ablative dose in single fraction, where SBRT could not

## Slide 32: Outlook
First lung cancer patients treated with active scanning carbon-ions at NIRS, Chiba (Japan)
Results from this study (especially multi target case) will be used for actual treatment as part of LOEWE
Notes: Zvad loewe

## Slide 33: Acknowledgments
GSI
C. Graeff
M. Durante
A. Eichhorn
M. Prall
S. Hild
FC
J. Stroom
C. Greco
N. Pimentel
S. Vierra
UK Erlangen
C. Bert
T. Brandt
J. Wölfelschneider