## Slide 1: In Silico Comparison of Photons versus Carbon Ions in Single Fraction Therapy of Lung Cancer
Kristjan Anderle

## Slide 2: Outline
Introduction
Normal Lung Cancer Patients
Multiple Tumors Lung Cancer Patients
Conclusion & Outlook

## Slide 3: Introduction

## Slide 4: Stereotactic Body Radiation Treatment (SBRT)

## Slide 5: Introduction
photons

## Slide 6: Introduction
p+
12C
photons
photons

## Slide 7: Introduction
p+
12C
photons
photons
12C
LEGENDA!

## Slide 8: Introduction
PT Raster scanning
PT Bragg peak
PT range changes & interplay

## Slide 9: Introduction
PT Raster scanning
PT Bragg peak
PT range changes & interplay
Courtesy M. Söhn, LMU

## Slide 10: Deformable Image Registration

## Slide 11: Deformable Image Registration Quality Assurance
Quality assurance with qualitative and quantitative test
Extensive verification, with over 1000 deformable image registrations
Jacobian map of vector field

## Slide 12: Outline
Introduction
Normal Lung Cancer Patients
Multiple Tumors Lung Cancer Patients
Conclusion & Outlook

## Slide 13: Patient Data
19 patients, 26 tumors
Average tumor volume: 2.9 cm3
Average tumor motion: 3.1 mm

## Slide 14: Patient Data – Normal Cases
19 patients, 26 tumors (each tumor 1 x 24 Gy)
Average tumor volume: 2.9 cm3
Average tumor motion: 3.1 mm
Single field uniform optimization
LEM IV biological model

## Slide 15: Patient Data – Normal Cases
SBRT single treatment plan
PT 10 dose calculations per patient:
  Without motion, static (2x)
  With motion, without compensation, 4D-interplay (4x)
  With motion, with compensation, 4D-rescanning (4x)

## Slide 16: Normal cases – Dose to Tumors

## Slide 17: Normal Cases - Example
SBRT
PT

## Slide 18: Normal Cases - Example
SBRT
PT

## Slide 19: Normal Cases- Dose to Critical Organs

## Slide 20: Normal Cases- Dose to Critical Organs

## Slide 21: Outline
Introduction
Normal Lung Cancer Patients
Multiple Tumors Lung Cancer Patients
Conclusion & Outlook

## Slide 22: Intensity modulated particle therapy optimization for multiple targets

## Slide 23: Intensity modulated particle therapy optimization for multiple targets

## Slide 24: Intensity modulated particle therapy optimization for multiple targets

## Slide 25: Intensity modulated particle therapy optimization for multiple targets

## Slide 26: Patient Data – Multiple Tumors
8 patients, 24 tumors
Average tumor volume: 4.1 cm3
Average tumor motion: 5.9 mm
Several critical organs in close vicinity to the tumor

## Slide 27: Patient Data – Multiple Tumors
SBRT single treatment plan
PT 8 dose calculation per patient:
  2 optimizations, each 4 breathing patterns
Dose escalation for 3 patients to 1 x 24Gy

## Slide 28: Multiple Tumors – Dose to the Tumors

## Slide 29: Multiple Tumors - Example
SBRT
PT

## Slide 30: Multiple Tumors – Dose to the Tumors

## Slide 31: Multiple Tumors - Example
SBRT
PT
Heart
Stomach
Esophagus
Target
Heart
Stomach
Esophagus
Target

## Slide 32: Multiple Tumors – Dose to Critical Organs
Figure

## Slide 33: Complex Cases – dose escalation

## Slide 34: Clinical Trial RTOG 0617

## Slide 35: Outline
Introduction
Normal Lung Cancer Patients
Multiple Tumors Lung Cancer Patients
Conclusion & Outlook

## Slide 36: Conclusions
PT delivers the same dose to tumors as SBRT,
while depositing significantely less dose to normal tissue.
PT could deliver full ablative dose in single fraction, where SBRT could not
PT should be considered as a treamtent modality for lung cancer patients

## Slide 37: Outlook
Phase III Randomized Trial Comparing Overall Survival After Photon Versus Proton Chemoradiotherapy for Inoperable Stage II-IIIB NSCLC (RTOG 1308), started in 2014, passive scattering proton therapy
First lung cancer patients treated with active scanning carbon-ions at NIRS, Chiba (Japan)
Löwe?

## Slide 38: Acknowledgments
GSI
C. Graeff
M. Durante
A. Eichorn
M. Prall
S. Hild
FC
J. Stroom
C. Greco
N. Pimentel
S. Vierra
UK Erlangen
C. Bert
T. Brandt
J. Wölfelschneider

## Slide 39: Thank you for your attention.